Items in red font must be replaced with the details of the specific agent being used. Refer to the manufacturer’s instructions for how to appropriately prepare and use. Consult with an OAR veterinarian if there are any questions.

STANDARD OPERATING PROCEDURES

Product Name

The following are the Standard Operating Procedures for the use of Product Name as a cold sterilization product:

- Agent used:

Active ingredient

- How agent is prepared:

Type of container

Whether dilution is needed and in what diluent to use

Mixing procedure

- How long agent is active once prepared:

Use immediately or # of days

- The date of preparation of the sterilizing solution must be noted on the container.

- The time required for sterilization of instruments/supplies:

# of hours

- How the sterilant is removed prior to use in an aseptic technique:

Whether thorough rinsing needs to occur and what rinsing agent to use

E.g. Sterilant is removed by thoroughly rinsing with sterile saline or sterile water

Example

STANDARD OPERATING PROCEDURES

CIDEX® Activated Dialdehyde Solution

The following are the Standard Operating Procedures for the use of CIDEX® Activated Dialdehyde Solution  as a cold sterilization product:

- Agent used:

2.4% Glutaraldehyde

- How agent is prepared:

Pour entire contents of the activator vial into

the solution container. Shake well.

Solution should immediately turn green.

- How long agent is active once prepared:

14 days

- The date of preparation of the sterilizing solution must be noted on the container.

- The time required for sterilization of instruments/supplies:

10 hours

- How the sterilant is removed prior to use in an aseptic technique:

Sterilant is removed by thoroughly rinsing with

sterile saline or sterile water